## Sheet1
id | ticket_state | power_grid_flag | step_count | archive_time | first_audit_uname | province_code | oticket_source | bureau_name | function_location_name | watch_uname | take_order_time | operation_end_time | main_step_count | issue_order_uname | create_time | create_oid | bureau_code | take_order_uid | oticket_type | watch_uid | create_uid | issue_order_uid | province_name | flow_state | second_audit_uname | operation_start_time | report_time | is_lock | guardian_unames | oticket_source_reason | operator_unames | serial_no_start | process_ins_id | check_opinion | receive_report_uid | report_uname | back_flag | remark | create_oname | operation_task | serial_no_end | data_from | whether_nomative | update_time | take_order_uname | generate_date | optimistic_lock_version | entry_uname | issue_order_dept | receive_report_uname | function_location_id | whether_qualified | report_uid | create_uname | create_ocode | entry_uid | first_audit_uid | qualified_state | second_audit_date | first_audit_date | agree_to_execute | resource_id | second_audit_uid
7f8a1a17bc70424a85ea4364a2dd575a | 4 | 1 | 14 | 2022-01-06 14:51 | 梅琦龙 | 01 | 1 | 超高压输电公司昆明局 | ±800kV楚雄换流站 | 梅琦龙 | 2022-01-06 11:32 | 2022-01-06 12:10 | 8 | 杨若朴 | 2022-01-06 11:33 | 8adc55c77e3478fe017ee782678f6ef0 | 0109 | 00035034_cgy | 1 | 00035034_cgy | 00035039_cgy | 7C477AB2ECEA4B2D980559AE38CCE231 | 超高压电网有限责任公司 | 2 | 梅琦龙 | 2022-01-06 11:37 | 2022-01-06 12:20 |  | 梅琦龙;田野 |  | 刘越;廖纪瑞 | 2200042.0000000000 |  |  | 7C477AB2ECEA4B2D980559AE38CCE231 | 梅琦龙 | 0 |  | 800kV楚雄换流站 | 合上500kV 和楚甲线506167接地刀闸 | 2200043.0000000000 | 01090600 | 2 | 2022-01-06 14:51 | 梅琦龙 | 2022-01-06 11:36 | 7 | 刘越 | TOTAL_DISPATCH | 杨若朴 | 01093208 | 2 | 00035034_cgy | 刘越 | 01090618 | 00035039 | 00035034_cgy | 1 | 2022-01-06 11:36 | 2022-01-06 11:35 |  |  | 00035034_cgy
7f88df2ce59048ec8daab343f47e9144 | 6 | 1 | 13 |  | 梁云龙 | 01 | 1 | 超高压输电公司天生桥局 | ±500kV兴仁换流站 |  |  |  | 13 |  | 2022-01-15 02:19 | 24136 | 0107 |  | 1 |  | D9E997CFE730471F8D7744C2DCE1E4D4 |  | 超高压电网有限责任公司 | 2 | 杨钦泽 | [6 empty] | 2200736.0000000000 |  |  |  |  | 0 |  | 兴仁换流站 | 将+500kV兴安直流极1 011LB直流滤波器由运行转检修 | 2200737.0000000000 | 01070106 | 0 | 2022-01-15 02:41 |  | 2022-01-15 02:20 | 4 | 黄勇源 |  |  | 01072992 | 0 |  | 黄勇源 | 01070106 | D9E997CFE730471F8D7744C2DCE1E4D4 | 00031775_cgy |  | 2022-01-15 02:20 | 2022-01-15 02:20 |  |  | 00031797_cgy
7f739839bc934556af9bb45a53d20380 | 4 | 1 | 12 | 2022-01-21 03:39 | 杨钦泽 | 01 | 1 | 超高压输电公司天生桥局 | ±500kV兴仁换流站 | 杨钦泽 | 2022-01-14 16:23 | 2022-01-14 16:50 | 12 | 王科 | 2022-01-14 16:30 | 24136 | 0107 | 1EDE05182E8444ECA97B917D860C1AE6 | 1 | 00031797_cgy | 1EDE05182E8444ECA97B917D860C1AE6 | 44C3C8A8337946F8952762B7BBF16865 | 超高压电网有限责任公司 | 2 | 杨钦泽 | 2022-01-14 16:41 | 2022-01-14 17:31 |  | 杨钦泽 |  | 余尧 | 2200718.0000000000 |  |  | 44C3C8A8337946F8952762B7BBF16865 | 余尧 | 0 |  | 兴仁换流站 | ±500kV兴安直流双极功率手动调整 | 2200719.0000000000 | 01070106 | 2 | 2022-01-21 03:39 | 余尧 | 2022-01-14 16:31 | 7 | 余尧 | TOTAL_DISPATCH | 王科 | 01072992 | 2 | 1EDE05182E8444ECA97B917D860C1AE6 | 余尧 | 01070106 | 1EDE05182E8444ECA97B917D860C1AE6 | 00031797_cgy | 1 | 2022-01-14 16:31 | 2022-01-14 16:31 |  |  | 00031797_cgy
7f6ffc9769db402880dfc47edfc6cc89 | 4 | 1 | 15 | 2022-01-29 23:48 | 褚海洋 | 01 | 1 | 超高压输电公司天生桥局 | 鲁西背靠背换流站 | 褚海洋 | 2022-01-29 15:54 | 2022-01-29 16:08 | 15 | 李志中 | 2022-01-29 16:02 | 8af935015286212f0153356d4a1119fb | 0107 | 4158ADEA17094979A8A2360E9FFDF356 | 1 | 110F4942CD9B522AE05336050A0A2485 | 4158ADEA17094979A8A2360E9FFDF356 | 8F3787755283448FBC6EDDDFDF21FCC9 | 超高压电网有限责任公司 | 2 | 褚海洋 | 2022-01-29 16:05 | 2022-01-29 16:11 |  | 褚海洋 |  | 王坤 | 2200335.0000000000 |  |  | 8F3787755283448FBC6EDDDFDF21FCC9 | 王坤 | 0 |  | 鲁西换流站 | 手动分发自动功率曲线 | 2200336.0000000000 | 01070109 | 2 | 2022-01-29 23:48 | 王坤 | 2022-01-29 16:03 | 7 | 王坤 | TOTAL_DISPATCH | 李志中 | 010773444 | 2 | 4158ADEA17094979A8A2360E9FFDF356 | 王坤 | 01070109 | 4158ADEA17094979A8A2360E9FFDF356 | 110F4942CD9B522AE05336050A0A2485 | 1 | 2022-01-29 16:03 | 2022-01-29 16:03 |  |  | 110F4942CD9B522AE05336050A0A2485
7f6f44c0bc1b4d6a9700ae8da6086f5d | 4 | 1 | 10 | 2022-01-12 20:27 | 农绍培 | 01 | 1 | 超高压输电公司柳州局 | 500kV柳东变电站 | 周义 | 2022-01-12 18:45 | 2022-01-12 19:27 | 10 | 周义 | 2022-01-12 18:48 | 24053 | 0104 | 00032036_cgy | 2 | 00032046_cgy | 00032036_cgy | 00032046_cgy | 超高压电网有限责任公司 | 2 | 周义 | 2022-01-12 19:23 | 2022-01-12 19:31 |  | 农绍培 |  | 徐海锦 | 2200248.0000000000 |  |  | 00032046_cgy | 徐海锦 | 0 |  | 500kV柳东变电站 | 合上#1主变500kV侧501127接地刀闸 | 2200248.0000000000 | 01040805 | 2 | 2022-01-12 20:27 | 徐海锦 | 2022-01-12 19:02 | 4 | 徐海锦 | SELF_DISPATCH | 周义 | 01041216 | 2 | 00032036_cgy | 徐海锦 | 01040805 | 00032036 | 00030186_cgy | 1 | 2022-01-12 19:02 | 2022-01-12 18:59 |  |  | 00032046_cgy
7f6ea320bd274d67ba82b9593c6b8195 | 4 | 1 | 10 | 2022-01-05 10:48 | 张航 | 01 | 1 | 超高压输电公司柳州局 | 500kV河池变电站 | 覃宗旅 | 2022-01-05 04:43 | 2022-01-05 05:05 | 10 | 钟文明 | 2022-01-05 02:28 | 24051 | 0104 | 110F4942CDA8522AE05336050A0A2485 | 1 | 110F4942CDA8522AE05336050A0A2485 | B1E0FBE7EC2C4704887C225D312C31AE | 110F4942CD8A522AE05336050A0A2485 | 超高压电网有限责任公司 | 2 | 覃宗旅 | 2022-01-05 04:58 | 2022-01-05 05:07 |  | 张航 |  | 陈劲力 | 2200066.0000000000 |  |  | 110F4942CD8A522AE05336050A0A2485 | 覃宗旅 | 0 |  | 500kV河池变电站 | 将220kV河蓝Ⅱ线线路由冷备用转检修 | 2200066.0000000000 | 01040803 | 2 | 2022-01-05 10:48 | 覃宗旅 | 2022-01-05 04:47 | 5 | 陈劲力 | OTHER_NNQK_01 | 钟文明 | 01041218 | 2 | 110F4942CDA8522AE05336050A0A2485 | 陈劲力 | 01040803 | B1E0FBE7EC2C4704887C225D312C31AE | 110F4942CE83522AE05336050A0A2485 | 1 | 2022-01-05 04:47 | 2022-01-05 04:46 |  |  | 110F4942CDA8522AE05336050A0A2485
7f6e8e48c3394a06b63689b562df901c | 4 | 1 | 35 | 2022-01-08 08:52 | 林鑫森 | 01 | 1 | 超高压输电公司广州局 | ±500kV宝安换流站 | 付冲 | 2022-01-07 14:57 | 2022-01-07 16:26 | 4 | 刘敬诚 | 2022-01-07 16:15 | 24344 | 0101 | 110F4942CDFA522AE05336050A0A2485 | 1 | 110F4942CB94522AE05336050A0A2485 | 110F4942CDFA522AE05336050A0A2485 | E9D97847E5274E369D034138E671336C | 超高压电网有限责任公司 | 2 | 付冲 | 2022-01-07 16:20 | 2022-01-07 16:27 |  | 林鑫森 |  | 李玮 | 2200260.0000000000 |  |  | E9D97847E5274E369D034138E671336C | 李玮 | 0 |  | 500kV宝安换流站 | 投入500kV 5004断路器保护（=20B01.C+R1） | 2200262.0000000000 | 01010905 | 2 | 2022-01-08 08:52 | 李玮 | 2022-01-07 16:17 | 7 | 李玮 | TOTAL_DISPATCH | 刘敬诚 | 01011001 | 2 | 110F4942CDFA522AE05336050A0A2485 | 李玮 | 01010905 | 110F4942CDFA522AE05336050A0A2485 | 7921D301DA904BDD9CA1549D5FE9D331 | 1 | 2022-01-07 16:17 | 2022-01-07 16:17 |  |  | 110F4942CB94522AE05336050A0A2485
7f49ff726c764f36aba9bfbc1974e079 | 4 | 1 | 5 | 2022-01-25 10:44 | 吴伟锋 | 01 | 1 | 超高压输电公司广州局 | 500kV花都变电站 | 刘凯 | 2022-01-25 10:24 | 2022-01-25 10:32 | 5 | 林敏行 | 2022-01-25 05:42 | 24333 | 0101 | 7E6BB3E280B1476F8374A4864CA58E16 | 1 | 00031142_cgy | 7E6BB3E280B1476F8374A4864CA58E16 | 57884DB297864509B0355512A155EFBC | 超高压电网有限责任公司 | 2 | 刘凯 | 2022-01-25 10:29 | 2022-01-25 10:41 |  | 吴伟锋 |  | 黄晓瀚;谢泽坤 | 2200661.0000000000 |  |  | 57884DB297864509B0355512A155EFBC | 黄晓瀚 | 0 |  | 500kV花都变电站 | 将500kV曲花乙线5073开关由运行转热备用 | 2200661.0000000000 | 01010903 | 2 | 2022-01-25 10:44 | 黄晓瀚 | 2022-01-25 10:27 | 4 | 黄晓瀚 | CENTER_DISPATCH | 林敏行 | 01011005 | 2 | 7E6BB3E280B1476F8374A4864CA58E16 | 黄晓瀚 | 01010903 | 7E6BB3E280B1476F8374A4864CA58E16 | 110F4942CD04522AE05336050A0A2485 | 1 | 2022-01-25 10:27 | 2022-01-25 10:26 |  |  | 00031142_cgy
7f36fd37929745c38e81b8023a6f21cc | 4 | 1 | 6 | 2022-01-08 08:56 | 郑少海 | 01 | 1 | 超高压输电公司广州局 | ±500kV宝安换流站 | 郑少海 | 2022-01-07 19:55 | 2022-01-07 20:51 | 3 | 郑丹钦 | 2022-01-07 20:12 | 24344 | 0101 | 110F4942CD86522AE05336050A0A2485 | 2 | 110F4942CD86522AE05336050A0A2485 | 932775567EDC40148D11CF33394A0764 | 00031166_cgy | 超高压电网有限责任公司 | 2 | 郑少海 | 2022-01-07 20:49 | 2022-01-07 20:52 |  | 郑少海 |  | 黄广睿 | 2200307.0000000000 |  |  | 00031166_cgy | 郑少海 | 0 |  | 500kV宝安换流站 | 投入10kV 2、3段母联023DL开关过流保护 | 2200307.0000000000 | 01010905 | 2 | 2022-01-08 08:56 | 郑少海 | 2022-01-07 20:15 | 7 | 黄广睿 | SELF_DISPATCH | 郑丹钦 | 01011001 | 2 | 110F4942CD86522AE05336050A0A2485 | 黄广睿 | 01010905 | 932775567EDC40148D11CF33394A0764 | 110F4942CD86522AE05336050A0A2485 | 1 | 2022-01-07 20:15 | 2022-01-07 20:15 |  |  | 110F4942CD86522AE05336050A0A2485
7f31f3ce463a4907a33bcb6ce7025cb2 | 4 | 1 | 5 | 2022-01-14 10:42 | 李星 | 01 | 1 | 超高压输电公司广州局 | 500kV花都变电站 | 卢建忠 | 2022-01-13 17:26 | 2022-01-13 20:32 | 2 | 丁荣 | 2022-01-12 19:20 | 24333 | 0101 | 26D837BBB1AB40D39A5E8EABC39B80F3 | 2 | 00031145_cgy | 26D837BBB1AB40D39A5E8EABC39B80F3 | 00031138_cgy | 超高压电网有限责任公司 | 2 | 卢建忠 | 2022-01-13 20:31 | 2022-01-13 20:50 |  | 李星 |  | 罗梓聪 | 2200259.0000000000 |  |  | 00031138_cgy | 罗梓聪 | 0 |  | 500kV花都变电站 | 断开500kV第九串联络5092开关控制电源空气开关 | 2200259.0000000000 | 01010903 | 2 | 2022-01-14 10:42 | 罗梓聪 | 2022-01-13 18:25 | 5 | 罗梓聪 | SELF_DISPATCH | 丁荣 | 01011005 | 2 | 26D837BBB1AB40D39A5E8EABC39B80F3 | 罗梓聪 | 01010903 | 26D837BBB1AB40D39A5E8EABC39B80F3 | 8BB1645F0A0F47218CE5F4950007EE04 | 1 | 2022-01-13 18:25 | 2022-01-13 17:31 |  |  | 00031145_cgy
7f2977c8502643709cc6588a9e4c06ff | 4 | 1 | 7 | 2022-01-30 11:23 | 杨蒙宾 | 01 | 1 | 超高压输电公司曲靖局 | ±500kV牛寨换流站 | 刘百爽 | 2022-01-29 04:03 | 2022-01-29 04:34 | 7 | 曹显武 | 2022-01-29 04:07 | 25873 | 0108 | 00034024_cgy | 2 | 00030362_cgy | 00034024_cgy | 110F4942CB61522AE05336050A0A2485 | 超高压电网有限责任公司 | 2 | 刘百爽 | 2022-01-29 04:27 | 2022-01-29 04:40 |  | 杨蒙宾 |  | 农高照 | 2200202.0000000000 |  |  | 110F4942CB61522AE05336050A0A2485 | 农高照 | 0 |  | 500kV牛寨换流站 | 合上牛从直流OPGW光缆2027地刀 | 2200202.0000000000 | 01080803 | 2 | 2022-01-30 11:23 | 农高照 | 2022-01-29 04:19 | 8 | 农高照 | SELF_DISPATCH | 曹显武 | 01089053 | 2 | 00034024_cgy | 农高照 | 01080803 | 00034024 | 110F4942CD32522AE05336050A0A2485 | 1 | 2022-01-29 04:19 | 2022-01-29 04:18 |  |  | 00030362_cgy
7f28e7f2a2d14f3c882cf6875554c1d0 | 4 | 1 | 7 | 2022-01-22 19:32 | 肖志超 | 01 | 1 | 超高压输电公司广州局 | ±800kV东方换流站 | 颜志敏 | 2022-01-21 16:00 | 2022-01-21 16:57 | 5 | 胡辉祥 | 2022-01-21 16:07 | 8af935015cb075d3015da63cd6601579 | 0101 | 00032433_cgy | 2 | 00032433_cgy | 81524A58BE7148D7A891F1D79400AAAF | 00031131_cgy | 超高压电网有限责任公司 | 2 | 颜志敏 | 2022-01-21 16:55 | 2022-01-21 17:34 |  | 肖志超 |  | 叶俊 | 2200399.0000000000 |  |  | 00031131_cgy | 颜志敏 | 0 |  | 800kV东方换流站 | 合上220kV东创甲线主一保护屏（=20D25+R1）内9546开关第一组操作电源4K1，9546开关第二组操作电源4K2 空气开关 | 2200399.0000000000 | 01010916 | 2 | 2022-01-22 19:32 | 颜志敏 | 2022-01-21 16:17 | 5 | 叶俊 | SELF_DISPATCH | 胡辉祥 | e0b1dc57f2cc441788f55f247263d4c8 | 2 | 00032433_cgy | 叶俊 | 01010916 | 81524A58BE7148D7A891F1D79400AAAF | 110543C0AB81430B8293A549D9E05F0C | 1 | 2022-01-21 16:17 | 2022-01-21 16:16 |  |  | 00032433_cgy
7f1d54813afb4f9397ef3d2e995bf902 | 4 | 1 | 6 | 2022-01-03 00:06 | 崔华栋 | 01 | 1 | 超高压输电公司广州局 | ±500kV广州换流站 | 陈思远 | 2022-01-02 19:00 | 2022-01-02 23:07 | 6 | 梁家豪 | 2022-01-02 20:10 | 24322 | 0101 | 110F4942CB50522AE05336050A0A2485 | 2 | 110F4942CB50522AE05336050A0A2485 | E151F9CD7FE247599F96D8A16983B4F0 | 00031057_cgy | 超高压电网有限责任公司 | 2 | 陈思远 | 2022-01-02 23:05 | 2022-01-02 23:30 |  | 崔华栋 |  | 郑祥存;陈思远 | 2200035.0000000000 |  |  | 00031057_cgy | 陈思远 | 0 |  | 500kV广州换流站 | 断开10kV母线1、3段母联开关013DL | 2200035.0000000000 | 01010901 | 2 | 2022-01-03 00:06 | 陈思远 | 2022-01-02 20:31 | 6 | 郑祥存 | SELF_DISPATCH | 梁家豪 | 01011004 | 2 | 110F4942CB50522AE05336050A0A2485 | 郑祥存 | 01010901 | E151F9CD7FE247599F96D8A16983B4F0 | 110F4942CDB9522AE05336050A0A2485 | 1 | 2022-01-02 20:31 | 2022-01-02 20:20 |  |  | 110F4942CB50522AE05336050A0A2485
7f163f7143574e8dbe98f3fd93e003b5 | 4 | 1 | 28 | 2022-01-19 08:27 | 尹海涛 | 01 | 1 | 超高压输电公司广州局 | ±800kV东方换流站 | 赖皓 | 2022-01-18 23:00 | 2022-01-18 23:35 | 28 | 郑涵 | 2022-01-18 16:12 | 8af935015cb075d3015da63cd6601579 | 0101 | 110F4942CDC9522AE05336050A0A2485 | 1 | 110F4942CDC9522AE05336050A0A2485 | A5A5B91C33814EF2A6ED6E3CF26A90E8 | 44817B7F57A54D82B4E1A5DD3950C582 | 超高压电网有限责任公司 | 2 | 赖皓 | 2022-01-18 23:11 | 2022-01-18 23:36 |  | 尹海涛 |  | 吕圣琦;苏伟达 | 2200283.0000000000 |  |  | 44817B7F57A54D82B4E1A5DD3950C582 | 赖皓 | 0 |  | 800kV东方换流站 | 将220kV东创乙线9547开关由冷备用转热备用 | 2200285.0000000000 | 01010916 | 2 | 2022-01-19 08:27 | 赖皓 | 2022-01-18 23:11 | 4 | 吕圣琦 | CENTER_DISPATCH | 郑涵 | e0b1dc57f2cc441788f55f247263d4c8 | 2 | 110F4942CDC9522AE05336050A0A2485 | 吕圣琦 | 01010916 | A5A5B91C33814EF2A6ED6E3CF26A90E8 | 370F5B04824E4E729A77ABDF91B23DD5 | 1 | 2022-01-18 23:11 | 2022-01-18 23:08 |  |  | 110F4942CDC9522AE05336050A0A2485
7f0c3777547d446684685c1bb106b49c | 4 | 1 | 5 | 2022-01-11 03:14 | 陈彬 | 01 | 1 | 超高压输电公司天生桥局 | ±500kV马窝换流站 | 陈彬 | 2022-01-08 08:45 | 2022-01-08 09:10 | 2 | 朱春松 | 2022-01-08 09:01 | 24564 | 0107 | 80C8A029D04042858CBEB68B48971F15 | 2 | 00031778_cgy | 80C8A029D04042858CBEB68B48971F15 | 00030265_cgy | 超高压电网有限责任公司 | 2 | 陈彬 | 2022-01-08 09:09 | 2022-01-08 09:16 |  | 陈彬 |  | 李世恒 | 2200179.0000000000 |  |  | 00030265_cgy | 李世恒 | 0 |  | 马窝换流站 | 退出B套安稳装置 极1换流变检修压板 | 2200179.0000000000 | 01070107 | 2 | 2022-01-11 03:14 | 李世恒 | 2022-01-08 09:05 | 6 | 李世恒 | SELF_DISPATCH | 朱春松 | 01072990 | 2 | 80C8A029D04042858CBEB68B48971F15 | 李世恒 | 01070107 | 80C8A029D04042858CBEB68B48971F15 | 00031778_cgy |  | 2022-01-08 09:05 | 2022-01-08 09:05 |  |  | 00031778_cgy
7eee9c4d8e764973ad9b97e5e2a14f6c | 4 | 1 | 13 | 2022-01-08 10:58 | 陆小剑 | 01 | 1 | 超高压输电公司柳州局 | ±800kV柳州换流站 | 陆小剑 | 2022-01-08 08:57 | 2022-01-08 09:16 | 13 | 张艺镨 | 2022-01-07 22:28 | 8af935027106ddad017134bb753507a4 | 0104 | 00032402_cgy | 1 | 00032402_cgy | E0E7407E38534998A734B95637A6E72F | 955D373405324736A9358B57095175A4 | 超高压电网有限责任公司 | 2 | 陆小剑 | 2022-01-08 09:12 | 2022-01-08 09:18 |  | 陆小剑 |  | 周世威;余银 | 2200054.0000000000 |  |  | 955D373405324736A9358B57095175A4 | 陆小剑 | 0 |  | 800kV柳州换流站 | 自动模式下将柳龙段极2线路由冷备用转运行 | 2200054.0000000000 | 01040817 | 2 | 2022-01-08 10:58 | 陆小剑 | 2022-01-08 09:04 | 4 | 周世威 | TOTAL_DISPATCH | 张艺镨 | 73517925def64d4dae81e73cb3870553 | 2 | 00032402_cgy | 周世威 | 01040817 | E0E7407E38534998A734B95637A6E72F | 00032402_cgy | 1 | 2022-01-08 09:04 | 2022-01-08 09:04 |  |  | 00032402_cgy
7ee9ae6a8ff84efab3df0bf988d8ed1c | 4 | 1 | 15 | 2022-01-29 23:52 | 褚海洋 | 01 | 1 | 超高压输电公司天生桥局 | 鲁西背靠背换流站 | 褚海洋 | 2022-01-29 21:00 | 2022-01-29 21:10 | 15 | 肖亮 | 2022-01-29 21:03 | 8af935015286212f0153356d4a1119fb | 0107 | C262E33C549B44E693A83F722F08DB15 | 1 | 110F4942CD9B522AE05336050A0A2485 | C262E33C549B44E693A83F722F08DB15 | 8573566CB7EB4FB48F35D368E30AD59C | 超高压电网有限责任公司 | 2 | 褚海洋 | 2022-01-29 21:06 | 2022-01-29 21:11 |  | 褚海洋 |  | 包也 | 2200338.0000000000 |  |  | 8573566CB7EB4FB48F35D368E30AD59C | 包也 | 0 |  | 鲁西换流站 | 手动分发自动功率曲线 | 2200339.0000000000 | 01070109 | 2 | 2022-01-29 23:52 | 包也 | 2022-01-29 21:05 | 6 | 包也 | TOTAL_DISPATCH | 肖亮 | 010773444 | 2 | C262E33C549B44E693A83F722F08DB15 | 包也 | 01070109 | C262E33C549B44E693A83F722F08DB15 | 110F4942CD9B522AE05336050A0A2485 | 1 | 2022-01-29 21:05 | 2022-01-29 21:05 |  |  | 110F4942CD9B522AE05336050A0A2485
7ee5b22e13d14f9b8b4efaa11bacf2bb | 6 | 1 | 17 |  | 陈思远 | 01 | 1 | 超高压输电公司广州局 | ±500kV广州换流站 |  |  |  | 17 |  | 2022-01-06 15:00 | 24322 | 0101 |  | 1 |  | 4F08333847B940808E6EE05CFBBCE423 |  | 超高压电网有限责任公司 | 2 | 陈思远 | [6 empty] | 2200259.0000000000 |  |  |  |  | 0 |  | 500kV广州换流站 | 拉开220kV 广北乙线1母侧刀闸20531 | 2200260.0000000000 | 01010901 | 0 | 2022-01-07 06:02 |  | 2022-01-07 04:01 | 11.000000000000 | 易强 |  |  | 01011004 | 0 |  | 易强 | 01010901 | 4F08333847B940808E6EE05CFBBCE423 | 110F4942CB50522AE05336050A0A2485 |  | 2022-01-07 04:01 | 2022-01-07 04:01 |  |  | 110F4942CB50522AE05336050A0A2485
7edff6b99ff04e66b86c1fbe1a0ac020 | 4 | 1 | 29 | 2022-01-10 20:59 | 岳昊 | 01 | 1 | 超高压输电公司广州局 | ±500kV宝安换流站 | 岳昊 | 2022-01-10 14:55 | 2022-01-10 19:28 | 15 | 郑丹钦 | 2022-01-10 10:36 | 24344 | 0101 | 00031167_cgy | 2 | 00031167_cgy | A25ACA8707DE47309FEEC83E46850F86 | 00031166_cgy | 超高压电网有限责任公司 | 2 | 岳昊 | 2022-01-10 19:24 | 2022-01-10 20:15 |  | 岳昊 |  | 韩琳琳;朱沛沛 | 2200467.0000000000 |  |  | 00031166_cgy | 岳昊 | 0 |  | 500kV宝安换流站 | 将500kV 574交流滤波器574开关由检修转冷备用 | 2200468.0000000000 | 01010905 | 2 | 2022-01-10 20:59 | 岳昊 | 2022-01-10 18:01 | 6 | 韩琳琳 | SELF_DISPATCH | 郑丹钦 | 01011001 | 2 | 00031167_cgy | 韩琳琳 | 01010905 | A25ACA8707DE47309FEEC83E46850F86 | 00031167_cgy | 1 | 2022-01-10 18:01 | 2022-01-10 18:01 |  |  | 00031167_cgy
7edb5e8479a6477a954c5b673b5c0cdb | 6 | 1 | 11 |  | 陈俊威 | 01 | 1 | 超高压输电公司广州局 | ±500kV宝安换流站 |  |  |  | 11 |  | 2022-01-23 23:52 | 24344 | 0101 |  | 2 |  | A25ACA8707DE47309FEEC83E46850F86 |  | 超高压电网有限责任公司 | 2 | 陈俊威 | [6 empty] | 2200973.0000000000 |  |  |  |  | 0 |  | 500kV宝安换流站 | 将极1 012直流滤波器012LB由检修转运行（新直流调规用语） | 2200973.0000000000 | 01010905 | 0 | 2022-01-24 00:38 |  | 2022-01-23 23:54 | 5 | 韩琳琳 |  |  | 01011001 | 0 |  | 韩琳琳 | 01010905 | A25ACA8707DE47309FEEC83E46850F86 | 110F4942CB56522AE05336050A0A2485 |  | 2022-01-23 23:54 | 2022-01-23 23:54 |  |  | 110F4942CB56522AE05336050A0A2485
7ed09a2a015242ecab4795f0fafba0c5 | 4 | 1 | 2 | 2022-01-11 11:05 | 秦文亮 | 01 | 1 | 超高压输电公司南宁局 | 500kV南宁变电站 | 秦文亮 | 2022-01-11 08:57 | 2022-01-11 09:32 | 2 | 秦文亮 | 2022-01-10 22:13 | 24088 | 0103 | 110F4942CE35522AE05336050A0A2485 | 2 | 00030654_cgy | 110F4942CE35522AE05336050A0A2485 | 00030654_cgy | 超高压电网有限责任公司 | 2 | 秦文亮 | 2022-01-11 09:31 | 2022-01-11 10:16 |  | 秦文亮 |  | 韦海治 | 2200015.0000000000 |  |  | 00030654_cgy | 韦海治 | 0 |  | 500kV南宁变电站 | 断开#N0站用变0.4kV侧3ZK开关 | 2200015.0000000000 | 01031106 | 2 | 2022-01-11 11:05 | 韦海治 | 2022-01-11 09:00 | 7 | 韦海治 | SELF_DISPATCH | 秦文亮 | 01031008 | 2 | 110F4942CE35522AE05336050A0A2485 | 韦海治 | 01031106 | 110F4942CE35522AE05336050A0A2485 | 00030654_cgy | 1 | 2022-01-11 09:00 | 2022-01-11 09:00 |  |  | 00030654_cgy
7eb77e7ee4e947b8acaa18f386d63955 | 4 | 1 | 17 | 2022-01-17 18:56 | 农绍培 | 01 | 1 | 超高压输电公司柳州局 | 500kV柳东变电站 | 周义 | 2022-01-17 11:37 | 2022-01-17 12:13 | 17 | 贾叶飞 | 2022-01-17 11:48 | 24053 | 0104 | 00032046_cgy | 1 | 00032046_cgy | 10375A8E9B394CCEAD1AB829915E26AB | 00030643_cgy | 超高压电网有限责任公司 | 2 | 周义 | 2022-01-17 12:01 | 2022-01-17 12:16 |  | 农绍培 |  | 农文俊 | 2200379.0000000000 |  |  | 110F4942CBF0522AE05336050A0A2485 | 农绍培 | 0 |  | 500kV柳东变电站 | 将500kV沙柳乙线线路由冷备用转检修 | 2200380.0000000000 | 01040805 | 2 | 2022-01-17 18:56 | 周义 | 2022-01-17 11:54 | 10.000000000000 | 农文俊 | OTHER_NNQK_01 | 李成宇 | 01041216 | 2 | 00030186_cgy | 农文俊 | 01040805 | 10375A8E9B394CCEAD1AB829915E26AB | 00030186_cgy | 1 | 2022-01-17 11:54 | 2022-01-17 11:53 |  |  | 00032046_cgy
7ea2d2abb5a6440c8988215bf61576a5 | 4 | 1 | 29 | 2022-01-17 09:34 | 马洪灼 | 01 | 1 | 超高压输电公司柳州局 | ±800kV柳州换流站 | 吴小东 | 2022-01-16 22:34 | 2022-01-16 22:56 | 29 | 吴小东 | 2022-01-16 21:57 | 8af935027106ddad017134bb753507a4 | 0104 | 2348CC9294D6432A81AB49031879E4D8 | 2 | 110F4942CE63522AE05336050A0A2485 | D56BF0C1016648489AD58BFADCB4F589 | 110F4942CE63522AE05336050A0A2485 | 超高压电网有限责任公司 | 2 | 吴小东 | 2022-01-16 22:49 | 2022-01-16 22:59 |  | 马洪灼 |  | 赵梓静 | 2200124.0000000000 |  |  | 110F4942CE63522AE05336050A0A2485 | 马洪灼 | 0 |  | 800kV柳州换流站 | 设定±800kV昆柳龙直流自动功率曲线参考值（01月17日） | 2200126.0000000000 | 01040817 | 2 | 2022-01-17 09:34 | 马洪灼 | 2022-01-16 22:43 | 6 | 赵梓静 | SELF_DISPATCH | 吴小东 | 73517925def64d4dae81e73cb3870553 | 2 | 2348CC9294D6432A81AB49031879E4D8 | 赵梓静 | 01040817 | D56BF0C1016648489AD58BFADCB4F589 | 2348CC9294D6432A81AB49031879E4D8 | 1 | 2022-01-16 22:43 | 2022-01-16 22:35 |  |  | 110F4942CE63522AE05336050A0A2485
7e946e355d4c4da3bf28b191ad08467e | 4 | 1 | 29 | 2022-01-25 23:08 | 徐焕焕 | 01 | 1 | 超高压输电公司柳州局 | ±800kV柳州换流站 | 傅聪 | 2022-01-24 22:40 | 2022-01-24 23:03 | 29 | 傅聪 | 2022-01-24 21:57 | 8af935027106ddad017134bb753507a4 | 0104 | 376CCAD1448D4B4380752A45353D024B | 2 | 110F4942CB93522AE05336050A0A2485 | E90D444DED63474C938398CCE6CC8645 | 110F4942CB93522AE05336050A0A2485 | 超高压电网有限责任公司 | 2 | 傅聪 | 2022-01-24 22:49 | 2022-01-24 23:05 |  | 徐焕焕 |  | 李明硕 | 2200196.0000000000 |  |  | 110F4942CB93522AE05336050A0A2485 | 徐焕焕 | 0 |  | 800kV柳州换流站 | 设定±800kV昆柳龙直流自动功率曲线参考值（01月25日） | 2200198.0000000000 | 01040817 | 2 | 2022-01-25 23:08 | 徐焕焕 | 2022-01-24 22:47 | 6 | 李明硕 | SELF_DISPATCH | 傅聪 | 73517925def64d4dae81e73cb3870553 | 2 | 376CCAD1448D4B4380752A45353D024B | 李明硕 | 01040817 | E90D444DED63474C938398CCE6CC8645 | 376CCAD1448D4B4380752A45353D024B | 1 | 2022-01-24 22:47 | 2022-01-24 22:45 |  |  | 110F4942CB93522AE05336050A0A2485
7e645b9c9aae42ecb7863f9bd1009a29 | 4 | 1 | 7 | 2022-01-25 20:26 | 林志明 | 01 | 1 | 超高压输电公司天生桥局 | ±500kV兴仁换流站 | 林志明 | 2022-01-25 16:08 | 2022-01-25 17:10 | 7 | 戴甲水 | 2022-01-25 16:12 | 24136 | 0107 | 7D13F2C05AE743EEBB2C168991469DE2 | 2 | 110F4942CC36522AE05336050A0A2485 | 110F4942CD6F522AE05336050A0A2485 | 4E92B35B9F5C4CF3978BBFC3B000D393 | 超高压电网有限责任公司 | 2 | 林志明 | 2022-01-25 17:08 | 2022-01-25 18:45 |  | 林志明 |  | 张天勇 | 2200902.0000000000 |  |  | 4E92B35B9F5C4CF3978BBFC3B000D393 | 潘杰 | 0 |  | 兴仁换流站 | 将10kV 101母线/103母线联络013DL断路器由试验位置摇至工作位置 | 2200902.0000000000 | 01070106 | 2 | 2022-01-25 20:26 | 潘杰 | 2022-01-25 16:24 | 5 | 张天勇 | SELF_DISPATCH | 戴甲水 | 01072992 | 2 | 7D13F2C05AE743EEBB2C168991469DE2 | 张天勇 | 01070106 | 110F4942CD6F522AE05336050A0A2485 | 110F4942CC36522AE05336050A0A2485 | 1 | 2022-01-25 16:24 | 2022-01-25 16:24 |  |  | 110F4942CC36522AE05336050A0A2485
7e61337e14dc49a48334107168732b7e | 4 | 1 | 8 | 2022-01-12 05:23 | 郝名辉 | 01 | 1 | 超高压输电公司昆明局 | ±800kV普洱换流站 | 乔柱桥 | 2022-01-11 06:01 | 2022-01-11 12:53 | 2 | 吴斌 | 2022-01-11 10:51 | 8adc55c77e3478fe017ee78059d46ee5 | 0109 | 00035082_cgy | 2 | 00035087_cgy | 3CFAD10FE3A448E99FD107201CAD4D4D | BA6DD768CF85417F96F5638A0DA58808 | 超高压电网有限责任公司 | 2 | 乔柱桥 | 2022-01-11 12:50 | 2022-01-11 14:14 |  | 郝名辉 |  | 梁显润 | 2200161.0000000000 |  |  | BA6DD768CF85417F96F5638A0DA58808 | 杨启宾 | 0 |  | 800kV普洱换流站 | 退出=10B00+SSC11 51小室安全稳定控制从机A柜 思普乙线5031开关合位5LP3压板、第三串联络5032开关合位5LP4压板 | 2200161.0000000000 | 01090604 | 2 | 2022-01-12 05:23 | 杨启宾 | 2022-01-11 11:26 | 7 | 梁显润 | SELF_DISPATCH | 吴斌 | 01099052 | 2 | 00035082_cgy | 梁显润 | 01090616 | 3CFAD10FE3A448E99FD107201CAD4D4D | 8275CF8CAA8443CEAE805616DAE44ECA | 1 | 2022-01-11 11:26 | 2022-01-11 11:25 |  |  | 00035087_cgy
7e5f2a1525d3467cbd1f25c5a0f4e051 | 4 | 1 | 5 | 2022-01-19 02:19 | 雷庆山 | 01 | 1 | 超高压输电公司广州局 | ±800kV东方换流站 | 游俊良 | 2022-01-18 09:30 | 2022-01-18 11:27 | 3 | 李靖翔 | 2022-01-18 10:25 | 8af935015cb075d3015da63cd6601579 | 0101 | 110F4942CD4B522AE05336050A0A2485 | 2 | 110F4942CD4B522AE05336050A0A2485 | A5A5B91C33814EF2A6ED6E3CF26A90E8 | 00031157_cgy | 超高压电网有限责任公司 | 2 | 游俊良 | 2022-01-18 11:25 | 2022-01-18 12:02 |  | 雷庆山 |  | 吕圣琦 | 2200257.0000000000 |  |  | 00031157_cgy | 游俊良 | 0 |  | 800kV东方换流站 | 退出500kV继电器小室3安稳控制子站从屏A（=20SS02+S1）屏内500kV沙东乙线两侧开关相关压板 | 2200257.0000000000 | 01010916 | 2 | 2022-01-19 02:19 | 游俊良 | 2022-01-18 10:31 | 6 | 吕圣琦 | SELF_DISPATCH | 李靖翔 | e0b1dc57f2cc441788f55f247263d4c8 | 2 | 110F4942CD4B522AE05336050A0A2485 | 吕圣琦 | 01010916 | A5A5B91C33814EF2A6ED6E3CF26A90E8 | F5BFF5C652E5401A9580119A698618C8 | 1 | 2022-01-18 10:31 | 2022-01-18 10:27 |  |  | 110F4942CD4B522AE05336050A0A2485
7e501c0f515f413bba0adc5cd55aa03e | 4 | 1 | 46 | 2022-01-07 23:27 | 毕伟 | 01 | 1 | 超高压输电公司昆明局 | ±800kV楚雄换流站 | 毕伟 | 2022-01-07 22:30 | 2022-01-07 23:17 | 46 | 候方迪 | 2022-01-07 22:50 | 8adc55c77e3478fe017ee782678f6ef0 | 0109 | 00032469_cgy | 1 | 00032469_cgy | 23682AB7BF2342039FC2D581086FC6C4 | 5DA56C4B75C04FD1BCD60378C30D45B8 | 超高压电网有限责任公司 | 2 | 毕伟 | 2022-01-07 23:06 | 2022-01-07 23:26 |  | 毕伟 |  | 陈诺 | 2200067.0000000000 |  |  | 5DA56C4B75C04FD1BCD60378C30D45B8 | 毕伟 | 0 |  | 800kV楚雄换流站 | 设定±800kV楚穗直流2022年01月08日自动功率负荷表 | 2200070.0000000000 | 01090600 | 2 | 2022-01-07 23:27 | 毕伟 | 2022-01-07 23:03 | 7 | 陈诺 | TOTAL_DISPATCH | 候方迪 | 01093208 | 2 | 00032469_cgy | 陈诺 | 01090618 | 23682AB7BF2342039FC2D581086FC6C4 | 00032469_cgy | 1 | 2022-01-07 23:03 | 2022-01-07 23:03 |  |  | 00032469_cgy